The Rules of Electromagnetism

What is Magnetism ?

It is easier to explain what it does !

1. It causes magnets to align themselves in a particular direction (“North-seeking poles” etc)

2. It causes current-bearing conductors to experience forces if conductor and field are not parallel. (F = Bil if conductor and field are at right angles to each other).

3. It induces e.m.f.s in conductors moved through magnetic fields (unless any two of conductor, field and motion are parallel). (e = Blu if all three are at right-angles).

4. If the field is changing with time, it induces an e.m.f. in any loop of a circuit through which it goes. (e = n d(/dt).

5. It is suspected (though the evidence is inconclusive so far) that alternating magnetic fields, especially very high-frequency ones (e.g. mobile phone transmissions !) may have adverse effects on health (see below). 

“Magnetic fields” are produced by currents (Corkscrew Rule). It there is just one wire, the field is such as to cause a magnetic pole to orbit the wire and its strength H (magnetising force) is I/(2(r) where I is the current and r is the distance out from the wire. The Magnetic Flux Density B is given by (0(rH where  is the permeability of free space (4( x 10-7 H/m) and  is the number of times more permeable to magnetic flux the particular material is compared to free space (the Relative Permeability). H is called the magnetising force and it is equal to the MMF (see below) divided by the length of the path traversed by the magnetic flux. If we make a coil of the wire, we concentrate the magnetic flux through the coil and its strength now depends on the number of turns in the coil times the current. The magnetic flux is considerably increased by causing it to flow through a ferromagnetic material (e.g.iron) rather than through air, plastic etc. In this respect, 1 mm of air presents about the same obstacle to the flux as several metres of iron, so electric motors are carefully constructed to minimise the "air gaps" through which the flux has to pass.

To gain an idea of how many turns etc. we need, we will do a few simple (?) sums.

The magnetic flux density 0.1 m from a wire carrying 1 A in air will be (0 x 1/(2( x 0.1) = (4( x 10-7) x 1/(2( x 0.1) = 2 x 10-6 T. This flux density can cause a force of BIL = 2 x 10-6 x 1 x 0.1 = 2 x 10-7 N to act in an 0.1-m long wire carrying 1 A. This does not seem to be a very large force, so we need either lots of wire, or more current, or a stronger field, or preferably all three, if we are to make a useful electric motor ! It turns out that by using iron and hundreds of turns of wire we can produce flux densities up to perhaps 1 T. Our 0.1-m long wire would then have experienced a force of 0.1 N, which is still not massive but we could again increase it by using many wires in a coil rather than just one. (More om motors etc. later).

Radio waves involve both electric and magnetic fields interacting (the exact mechanism is quite involved !) but, apart from microwave ovens (which normally cook only the food), the combination of frequency and power has not until recently been high enough to cause significant adverse biological effects. Mobile phones are under some suspicion especially because 

i) the received power is proportional to the transmitter power divided by the square of the distance from the transmitter, and 

ii) the phone is so near to the brain whilst it is transmitting.

The mechanism is likely to be the heating effect within the brain.

I have tried to find some typical figures for mast and user transmitter power, but I have so far been unsuccessful. The following evidence has come to light:

i) During a user test, users who continuously used a mobile phone for an hour or more became disoriented and confused (though this may not have any relevance whatever to the transmitted radio waves !)

ii) There is some evidence from animal experiments that brain cells are susceptible to mutation by fairly strong high-frequency radio fields.

iii) A friend who works for an electricity company in Berkshire measured the r.f. field strength from neighbouring masts and at about 250 mm from a mobile phone. The mast transmissions hardly registered on his instrument at all but the phone one produced an almost full-scale reading.

iv) Most of the radiation is transmitted sideways from an aerial, so, if your offspring's school is to have a base-station mast erected on the premises, the roof is BY FAR the best place to put it ! Measurements near such a school showed that the transmissions from other masts were stronger in the vicinity of the school than those from the mast on the roof. If you feel like demonstrating, you should perhaps demonstrate for it to be put on the roof rather than at the edge of the sports field !

v) Much of the r.f. radiation falling on a building is absorbed by the walls and roof, especially at the higher radio frequencies.

vi) The Director of the National Radiological Protection Board appeared on television some years ago in connection with a school-grounds-located mobile phone mast. He stated that its transmissions were not definitely known to be safe but pointed out that the Radio 4 signal in the vicinity (also not of proven human safety as he pointed out) was of comparable strength to that from the mast.

vii) As we move further from the source of the radio transmission, the strength of the "field" diminishes approximately according to the Inverse Square Law.

This means that the strength of the signal at a distance x from the transmitting antenna is given by FRED/x2 where FRED is a constant depending on the transmitter power.

(You may like to visit the website http://www.doh.gov.uk/mobilephones for more on the above).

Example .. what will the field strength be (a) 3 metres from a mast for which FRED = 10 units, (b) at a distance of 200 metres from such a mast, (c) in the centre of the head of a user of a mobile phone for which FRED = 1 unit ?

Some main electric motor types

1. The d.c. motor

Basically simple .. the magnetic field is supplied either by a permanent magnet (small motors) or by a current-carrying coil as above. The rotating assembly (known as the Armature) is supplied with current via the Commutator and the Brushes which make a sliding contact with the commutator. The purpose of the commutator is to reverse the armature current every half-revolution to ensure that the torque exerted on the armature continues to act in the forward direction. The sparking from the reversal of the current as well as the sliding contact causes wear of the brushes and commutator, which is a significant drawback of d.c. motors.

The field can be supplied by a permanent magnet (usual in small battery-voltage motors), a coil in parallel with the supply ("shunt motor") or a coil in series with the supply ("series motor"). The latter is still often chosen for traction applications where its high starting torque is very useful.

Electric generators are actually the same machine as electric motors; in a generator, the generated voltage is higher than the terminal voltage, whilst it is lower in a motor where it is called the Back e.m.f. The back e.m.f. is calculable from "e=Blu" and it is therefore proportional to the motor speed if the field and dimensions are constant.

a.c. motors

The usual a.c. motor is the three-phase induction motor which, in its usual "squirrel-cage" form, requires no electrical contact between the rotating part (the rotor) and the stationary part with the field windings (the stator); the rotor current is induced by transformer action. The cage motor has a torque-speed graph which peaks at a speed near to the rotational speed of the induced magnetic field in the stator, so it has an inherently poor starting torque (though we can improve it by using a variable-frequency supply from a power-electronic converter).

Such induction machines are also used as generators in conjunction with wind-turbines, but the "mainstream" generator is the synchronous type in which the rotor coils carry a direct current. The "NP/Powergen" version always generates at 50 Hz (so constant-speed) but similar machines are also the standard generator in vehicles and, amazingly enough, railway IC125 power cars ! In both the latter two examples the frequency does not matter as the a.c. output is rectified anyway.

The usual power-station generator is the three-phase alternator in which a d.c. electromagnet is rotated such that its magnetic flux passes through three sets of coils in turn .. inducing the three a.c. voltages.

The transformer

This very useful device consists of a magnetic core (usually laminated iron or ferrite) with two coils of wire wound on it such that the magnetic flux produced by one coil (the Primary Coil) also goes through the other coil (the Secondary Coil).





If there is no flux leakage V1 = n1d(/dt and V2 = n2d(/dt, so n1/n2 = V1/V2.

If it is an ideal transformer, no power is produced or dissipated in it, so (forgetting phase for simplicity) V1I1 (the input power) = V2I2 (the output power) .. so our equation for the voltages and currents can be extended to n1/n2 = V1/V2 = I2/I1.

Some examples

1. What will be the magnetic flux density at ground level immediately beneath a power line 15 metres above the ground carrying 1500 A ? How does this strength of field compare with the earth's field ?

2. A particular electrical machine has a magnetic flux density of 0.8 T through its main rotor/armature conductors each of which is 0.3 m long. The rotor diameter is 0.2 m. The conductors may be assumed to be level with the outside of the rotor. If each conductor carries 5 A, how many conductors will be needed to give a torque of 10 N m ? What back e.m.f. will be generated at a speed of 2000 rev/min ?

3. A 240-110 V transformer has 2400 primary-coil turns.

How many secondary turns will it have ?

If the mains voltage were only 230 V, what would the transformer output voltage be ?

Bill Barraclough



October 2001 (amended April 2002)

I2





I1





V2





V1
































