Examples -- Power Supplies and Transducers

1. Define or explain the following terms with respect to power supplies: line regulation, load regulation, output resistance.

Defined at the beginning of the notes on power supplies.

2.








In this series regulator circuit, R = 470 (, Vz = 3.9 V, rz = 30 (, R1 = 6.8 k(, R2 = 3.3 k(.

(a)
Determine the output voltage of the circuit.

The op-amp is operating in linear mode, so its input voltages are approximately equal .. so the junction of R1 and R2 is at approximately VZ. This means by voltage division VL x R2/(R1 + R2) = VZ, or VL = VZ(1 + R1/R2) = 11.9 V.

(b)
The circuit has an input voltage varying between 14 V and 20 V. How much 
would we expect the output voltage to increase when the input voltage 
changes from 14 V to 20 V ?

Here we use the signal equivalent circuit, regarding the change in VS and the resulting change in VL as signals. The circuit is as follows (see ‘Power Supplies -- the Sums’).








The loop reduces by ‘G/(1 + GH)’ to Av/(1 + 0.327Av), or approximately 1/0.327 = 3.06. The change in VL will therefore be the change in voltage Vs (= 20 - 14 = 6 V) times 3.06 times rz/(R + rz), which gives 6 x 3.06 x 30/(30 + 470) = 1.17 V.

(c)
The op-amp has a differential-mode voltage gain of 100 000. If the emitter 
follower has an output resistance of 10 ohm without feedback, what will Ro 
be ? If the maximum load current is 0.5 A, what will the load regulation be ?

As with all voltage amplifiers with series-injected voltage feedback, 

Ro’ = Ro/(1 + Av() = 10/(1 + 100 000 x 0.327) = 3.06 x 10-4 ohm.

3.
How could we modify the circuit of Question 2 to protect it against an output 
short-circuit ?











... or either of the circuits in ‘The Notes’. Resistor R3 should drop about 0.6 V at full-load current.
4. 
A bridge detector circuit with a 5-V supply has three 100-ohm resistors and 
one active element. What output e.m.f. will it produce per unit of the quantity 
measured if the active element is :

(a)
A strain gauge with a gauge factor of 2.0.

The bridge open-circuit output voltage is EdR/(4R) = 5 x (2 x 100 x strain)/400 

= 2.5 V per unit strain.
(b)
A platinum resistance thermometer (the temperature coefficient of resistance 
for platinum is 0.0039 C-1).

The bridge open-circuit output voltage is EdR/(4R) 

= 5 x (0.0039 x 100 x temperature change)/400 

= 0.004875 V per degree C.
(c)
An ntc thermistor whose resistance-temperature graph is given here and 
which is intended for use near 20 C.

A little more complicated! We need to know the rate of change of the thermistor resistance with temperature in the region of 20 C -- in other words, the gradient of the graph there. It is approximately - 180/25 = - 7.2 ohm C-1. The voltage per degree Celsius is therefore (-) 5 x 7.2/400 = (-)0.09 V C-1.

See construction on graph for determination of gradient.



IL





R1





R





VL





VS





+


_





R2





Operational Amplifier





Voltage divider





rz/(R+rz)





Emitter Follower


V. Gain = 1





+





Voltage gain Av





Change in VS





--





Change in VL





R1 and R2


V. Divide ratio


= 3.3/(6.8 + 3.3)


= 0.327





R3





IL





R1





R





VL





+


_





VS





R2











_975153042.doc
������������������������������������������������������������������������������������������



180 ohm







25 C







Resistance, ohm







Temperature, C







300







250







200







150







100







50







0







30







25







20







15







10







5







0
















